## Building Overview
CNR UTRECHT AND MASON STREET
1. Building Overview
Provide the reader with an overview of how the centre is preforming :-AbaQulusi Plaza is a single-level,double-anchored enclosed communter mall. AbaQulusi Plaza plays an important part in the northern KZN transport route with long and short distance taxis as well as local and long distance buses operating within the mall.Even though Vryheid is regarged as rural town which used to mainly focus on mining,agriculture and cattle ranching located within Zululand District under the AbaQulisi municipality which is the main service and retail as well as transport hub aimed at commuters convenience with the goal of integrating the northern KZN transport network for the homeward bound commuters. This intermodal transport facility can accommodate over 300 taxis and close to 100 buses per day. a. short introduction and information regarding the centre :- i. AbaQulusi Plaza is situated in Vryheid CBD corner Mason & Utrecht st at centre of AbaQulusi municipality with current GLA of 16908sqm. ii. Target market is LSM 5-7 currently services black lower to middle class there is huge room for growth due to the young population still looking for opportunities. iii.Anchor tenats are Shoprite and Boxer superstore with national retailers such Clicks,Capitec bank,Woolworths Edit,TFG,PEPKOR & Studio88 groups. b. Things happening in the Centre:- i. AbaQulusi Plaza re-opened it doors on 22/11/23 housing just above 49 retail outlets and well over 200 trader stands with interntion to uplift the local traders. ii. AbaQulusi community has pride in this building as they still refer to it as "iPlaza yethu" iii.The local&long distance taxi rank and bus terminals is in full operation with most commuters now embracing the change. c. Things happening in the area :- The other mall is in operational since 31/10/2024 indeed it seems to be attracting the upper class with more of lower class choosing to shop at the Plaza and town.We compared the 3 Shoprites in Vryheid and concluded that Plaza shoprite took the most in October. d. There has not been strikes no protests e. Customer feedback :- Most customers are attracted by the convenience to taxi and bus routes and how the building connects to the rank,easy to navigate as well as close proximity to city centre.The other mall is now operational so far this has not had that much of negative effect on the foot traffic though upper CBD is most affected by vacant spaces.Currently Nedbank moved all it operations to the other mall customers have requested that Plaza looks into getting more Nedbank and FNB ATMs which do deposits.They were excited that we have a Capitec Bank branch being the only one in the city centre.Our groceries tenants benefitted with this current exodus as witnessed by our inspections of the cbd and the other mall during busy days.
CONTACT DETAILS OF LOCAL RESOURCES
Name | Date of Last Meeting |  |  | CONTACT PERSON | CONTACT NUMBER
COMMUNITY POLICE FORUM (CPF) | 2025-07-17 |  | Weekly | SAFETY OFFICER ABAQULUSI MUNICIPALITY | 0349895500/0733737743
LOCAL POLICE | 2025-07-17 |  | Monthly | SWITCH BOARD | 10111
LOCAL AUTHORITY | 2025-07-17 |  | Monthly | SAFETY | 0349822133
Checklist Summary
WARMS DASHBOARD CHECKED AND DISTRIBUTED ON |  |  |  | OB BOOKED CHECKED DAILY |  | Y
ROOF INSPECTION |  | 14/10/2025 |  | WATER METER READINGS CHECKED DAILY |  | Y
NIGHT INSPECTION |  | 17/10/2025 |  | STAFF REGISTERS SIGNED AND CHECKED DAILY |  | Y
METER READING DATE |  | 27/10/2025 |  | WEEKLY SERVICE PROVIDER MEETINGS MINUTES AVAILABLE |  | Y
PROJECT START DATE |  | 11/07/2022 |  | WEEKLY GENERATOR TEST DONE |  | Y
DATE OF LAST EXPIRED STOCK CHECK |  | 18/10/2025 |  | WEEKLY ROOF LEAKS SCHEDULE SENT TO HO OPS |  | Y
Note on E74: PJ Grove: Frequency of the meeting's recurrence

## Page 2
2. TURNOVER REPORTING
BUILDING TRADING PREFORMACNE
CURRENT MONTH TOTAL | PREVIOUS YEAR MONTH TOTAL | GROWTH | ANNUAL TRADING DESITY | SPEND PER HEAD | CM COMMENT ON BUILDING PREFORMACE
|  | 6.36% | 3162 | #DIV/0! | Overall the building is showing constant growth which is in line with national economic climate
75479367 | 76735968
ANCHOR TENANTS
TENANT | MONTHLY AVERAGE TO | ANNUAL TRADING DENSITY | COO | ANNUAL GROWTH | COMMENT ON GROWTH
BOXER | 13985239 | 3752 | 3.53% | -9.17% | Currently store manager is focus on mid month special to attract more feets
SHOPRITE | 11934752 | 5839 | 2.85% | -19.99% | The store current focus on customer service is positive for this month turnover.
TOP 5 PERFOMING TENANTS
TENANT | MONTHLY AVERAGE TO | ANNUAL TRADING DENSITY | COO | ANNUAL GROWTH | COMMENT ON GROWTH
BOXER | 13985239 | 3752 | 3.53% | -9.17% | Currently store manager is focus on mid month special to attract more feets
SHOPRITE | 11934752 | 5839 | 2.85% | -19.99% | The store current focus on customer service is positive for this month turnover.
PICARDI REBEL LIQUORS | 4366952 | 5742 | 3.85% | 13.17% | A positive growth when compared to last years figure despite growing competition within the area.
SHOPRITE LIQ SHOP | 4227106 | 8429 | 2.33% | -14.93% | A positive growth when compared to last years figure despite growing competition within the area.
CASHBUILD | 3638289 | 2554 | 6.72% | -23.96% | A positive growth when compared to last years figure despite growing competition within the area.
BOTTOM 5 PERFOMING TENANTS
TENANT | MONTHLY AVERAGE TO | ANNUAL TRADING DENSITY | COO | ANNUAL GROWTH | COMMENT ON GROWTH
ULTIMATE HAIR SALON | 210856 | 1562 | 26.2% | -27.42% | Slightly lower turnover when compared to previous months
NR CELL CLINX | 167325 | 8827 | 17.47% | -164.7% | Slightly lower turnover when compared to previous months
PROFUMO | 141546 | 12508 | 11.53% | 6.41% | When compared to last year turnover declined this month
CELL-TECH | 93210 | 1136 | 36.03% | -3.34% | The turnover is dropping on a month to month basis
HOMESYNC ESSENTIALS | 52471 | 437 | 82.83% | -2.77% | Management remains positive about the building footprint at the centre hopes to introduce marketing methods to create brand awareness.
TOP 5 PREFORMING CATEGORIES
3. HEAD COUNTS |  |  |  |  | 4. TOILET FUND INFORMATION
ENTRACE | MONTH COUNT | YTD COUNT | PREVIOUS YTD | VARIANCE | Profit per toilet roll average |  | 55.79
PUBLIC TOILETS : CENTRE | 159314 | 143870 | 141550 | 2% |  | Footcount System | Ticksheet | Variance
BUS RANK | 73832 |  |  |  | Foot count | 97654 | 26192 | 272.8%
[7 empty] | Issued (Bales) | Stock on Hand (Bales)
[5 empty] | Toilet Rolls | 160 | 122 | 38
PUBLIC TOILETS | 233146 | 143870 | 141550 | 2% |  | Actual Banked | Budget | Variance
[5 empty] | Monthy Cash | 233146 | 93000 | FALSE
TOTAL TOILETS | 233146 | 143870 | 141550 | 1.639%
5. Leasing
Vacancies
Shop No | Area | Budget Relet R/m² | Gross Mandate R/m² | Comments
N/A | n/a | n/a | n/a | n/a
N/A | n/a | n/a | n/a | n/a
N/A | n/a | n/a | n/a | n/a
N/A | n/a | n/a | n/a | n/a
N/A | n/a | n/a | n/a | n/a
Waiting List
Trading as | Contact Details | Category | Optimal Size | Comments
N/A | N/A | N/A | N/A
N/A | N/A | N/A | N/A
N/A | N/A | N/A | N/A
N/A | N/A | N/A | N/A
N/A | N/A | N/A | N/A
Tenant Movement
Shop No | New or Vacate | Vacate or B/O date | Preliminary Inspection | Take on / Take Back Date | Date of 1st Trade | Comments
STANDARD BANK | New | 10/07/2025 | 21/07/2025 | 22/07/2025 | 01/08/2025
SANLAM | New | 28/08/2025 | 28/08/2025 | 25/08/2025 | 22/11/2025
KFC | New | 22/09/2025 | 19/09/2025 | 2022-09-25 | 01/11/2025
6. Tenant Trading Hours |  |  |  | 7. Arrears (Top 5 Line Stores)
List of tenants not adhering to trading hours | Date | Time | Letter sent to HO or Owner | Trading As |  | DEPOSIT HELD | Closing Balance for the month | Contact Details
none | N/A | N/A | N/A
none | N/A | N/A | N/A
none | N/A | N/A | N/A
none | N/A | N/A | N/A
none | N/A | N/A | N/A
none | N/A | N/A | N/A
none | N/A | N/A | N/A
none | N/A | N/A | N/A
none | N/A | N/A | N/A
none | N/A | N/A | N/A
Note on E5: PJ Grove: If no head/foot counters make R 0.00
Note on A6: PJ Grove: From Tunrover report
Note on A30: PJ Grove: If no foot/head counters at the centre please remove information and advise why there is none installed
Note on F30: PJ Grove: If no toilet fund advise on the reason why.
Note on C52: PJ Grove: insert what the tenant would like to sell as their core product

## Page 3
8. Utility Management
Loadshedding
Week 1 | Week 2 | Week 3 | Week 4 |  | Stage | Total Hours | Date Diesel Purchased | Liters delivered (liters)
|  |  |  | Mon | 2 | N/A | N/A | N/A
|  |  |  | Tue | 2 | N/A
|  |  |  | Wed | 2 | 0
|  |  |  | Thu | 2 | 0
|  |  |  | Fri | 2 | 0
|  |  |  | Sat | 2 | 0
|  |  |  | Sun | 2 | 0
None | None | None | None |  | TOTAL | 0 |  | 0
Municipal Service Interuptions
Date | Type of Interuption | Start Time | End Time | Total Hours | Council Ref no. | Comment
2026-12-25 | Cable theft | 11:00 | none | none | none | N/a
2028-12-25 | Cable theft | 16:30 | none | none | none | N/a
none | none | none | none | none | none | N/a
none | none | none | none | none | none | N/a
none | none | none | none | none | none | N/a
none | none | none | none | none | none | N/a
none | none | none | none | none | none | N/a
none | none | none | none | none | none | N/a
none | none | none | none | none | none | N/a
Borehole
Comment
Fully operational supplying about 50% water needs |  |  | Y/N
Y/N
Y/N
Date
Generator
Comment
N/A
N/A |  |  | N/A | N/A
9. Maintenance and Project Items
Road repairs currently taking place around the building.

## OHS & HK
TENANT OHS ACT AND HOUSEKEEPING INSPECTION
ABAQULUSI PLAZA
TENANT PREMISES INFORMATION (To correspond 100% with the Building Lease Profile) |  |  |  | ELECTRICAL COC FOR CURRENT TENANT IN OCCUPATION AFTER ALTERATIONS |  | HVAC |  |  |  | GENERATORS |  | FIRE EQUIPMENT | [10 empty] | FOOD TENANTS
[12 empty] | Sprinkler System |  |  |  | Smoke Extraction |  | Smoke Detection |  | Hand Held Fire Equipment | OHS ACT RISKS | Shop Evacuation Plan Displayed
Shop No | Tenant Name | GLA | Occupancy Certificate Number or Submission Reference | Date Issued | Certificate number | Responsibility to Repair, Service & Maintain: |  | Up to Date Service Records Received and Uploaded | Month the HVAC unit will be handed over to the tenant, should it still be under warrantee | Tenant LL NA | Up to Date Service Records Received and Uploaded | Dedicated? | Up to Date Service Records Received and Uploaded Y/N |  |  | Dedicated? | Up to Date Service Records Received and Uploaded Y/N | Dedicated? | Up to Date Service Records Received and Uploaded Y/N | Up to Date Services Done | Stacking Heights, Fire Escapes, DB Boards Compliant |  | Up to date Extraction Service Certificate received and uploaded | Grease Trap in Premises Clean Safe removal corticated received | Fire Blanket on Site (only for oil) | Gas Installation
[6 empty] | Tenant / LL | Lease Clause No. | Y/N |  |  | Y/N | Y/N | Weekly Pressure Test | Annual Service | 3 Year Overhaul | Y/N | Annual Service | Y/N | Annual Service | Y/N | Y/N | Y/N | Y/N | Y/N | Y/N | COC | Annual Flammable Liquid Certificate
BUS TICKET OFFICE 01 | EMONDLO BUS OFFICE | 16 |  |  |  | LL |  | YES | 12/2024 | LL | N | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
BUS TICKET OFFICE 02 | NONDWENI BUS OFFICE | 9 |  |  |  | LL |  | YES | 12/2024 | LL | N | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
BUS TICKET OFFICE 03 | THANDUYISE BUS OFFICE | 9 |  |  |  | LL |  | YES | 12/2024 | LL | N | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
1 | BOXER | 2066 |  |  |  | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES |  | YES |  | YES
2 | ACKERMANS | 704 | 2023/74 | 27/09/2023 | M0247625 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES
3 | RAGE | 101 |  | 16/10/2023 | M0250100 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES |  | YES |  | YES
4 | POWER | 484 |  | 16/10/2023 | M0250152 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
5 | RFO | 387 | 2023/90 | 08/11/2023 | M0248947 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
6 | PECARDI REBEL | 305 |  | 19/10/2023 | M0250836 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
7 | CLICKS | 600 | 2023/89 | 27/09/2023 | M0247612 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
8 | REFINERY | 150 | 2023/85 | 13/11/2023 | M0247637 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
9.1 | FASTRAK | 124 |  | 23/10/2023 | M0251568 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
11 | DEBONAIRS | 120 |  | 19/10/2023 | M0250833 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES | YES | YES | YES | N/A
12 | HUNGRY LION | 189 |  | 08/11/2023 | M0256013 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES | YES | YES | YES | N/A
13 | RUSSELS | 432 |  | 01/12/2023 | M0256054 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
14 | KFC UNDER CONSTRUCTION | 171 | SPEC UPDATE IN PROGRESS | [16 empty] | YES | YES | YES | YES | YES | YES
15 | CHICKEN LICKEN | 252 | 2023/88 | 13/11/2023 | M0256012 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES | YES | YES | ,YES
16 | SHWARMA TAKEAWAY | 55 |  | 19/10/2023 | M0250827 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES | YES | YES | YES | NO
17 | MK FOODS | 64 |  | 23/10/2023 | M0251579 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES | YES | YES | YES | NO
18 | BEAUTY ZONE | 474 |  | 19/10/2023 | M0250157 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
19 | SKIPPER BAR | 160 | 2023/83 | 26/10/2023 | M0249936 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES |  | YES
20 | Sanlam | 140 |  | 25/10/2023 | M0252220 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
21 | CAPITEC | 251 |  | 20/11/2023 | M0247792 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
22 | WEDIT | 432 | 2023/94 | 06/10/2023 | M0248859 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
23 | JET | 546 | 2023/95 | 08/11/2023 | M0247797 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
24 | SHOPRITE LIQUOR SHOP | 230 |  | 14/09/2023 | M0256056 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
25 | SHOPRITE | 2488 | 2023/73 | 14/09/2023 | M0256055 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
26 | MAKHAM | 371 | 2023/96 | 08/11/2023 | M0248936 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
27 | SPORTSCENE | 398 | 2023/92 | 08/11/2023 | M0247802 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
28 | PEPCELL | 61 | 2023/82 | 17/11/2023 | M0250831 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
29 /30 | COSMIX BEAUTY | 249 |  |  | M0256380 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
31 A | ATMS | 108 |  |  |  | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
31 B | ABSA ATMS | 12 |  |  |  | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
31C | STANDARD BANK ATM | 12 |  |  |  | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
`31 D | CAPITEC BANK ATMS | 15 |  |  |  | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
31 E | FNB ATM | 10 |  |  |  | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
32 | OLD MUTUAL | 122 | 2023/89 | 18/07/2023 | M0250141 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
33 | STANDARDBANK | 248 |  |  |  | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
36 | HOMESYNC ESSENTIALS | 68 |  | 23/10/2023 | M0251547 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
37 | ULTIMATE HAIR | 61 |  | 23/10/2023 | M0251676 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
38 | SPEEDY LOANS | 61 |  |  |  | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
39 | FASHION WORLD | 203 |  |  |  | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
40 | EXACT | 245 | 2023/94 | 08/11/2023 | M0248946 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
41 | THE HUB | 343 |  | 16/10/2023 | M0250148 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
42 | ABAQULUSI MEDICAL CENTRE | 70 |  | 25/10/2023 | M0252222 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
43 | TOTAL SPORTS | 150 | 2023/93 | 08/11/2023 | M0248941 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
44 | SHOE ZONE | 120 |  | 23/10/2023 | M0251587 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
45 | CELLTECH | 60 |  |  | M0252226 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
46 | THE FIX | 210 | 2023/91 | 23/10/2023 | M0248949 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
47 | WEBBERS | 251 | 2023/86 | 27/11/2023 | M0250104 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
48 | STUDIO 88 | 314 | 2023/81 | 26/10/2023 | M0249940 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
49 | PEP | 493 | 2023/80 | 10/11/2023 | M0249940 | LL |  | YES | 12/2024 | LL | YES | YES | YES | N/A |  | YES | YES | YES |  | YES | YES | YES
PEP GROUP
TFG
FOOD
ENCHOR STORES

## Shop Spec
TENANT SHOP SPECIFICATIONS
ABAQULUSI PLAZA
TENANT PREMISES INFORMATION (To correspond 100% with the Building Lease Profile) |  | DISTRIBUTION BOARDS |  |  |  | HVAC |  |  | TYPE OF LIGHTFITTINGS | SHOP FRONT TYPE | ROLLER SHUTTER DOORS | CEILING |  | FLOOR FINISH | WALLS |  | PLUMBING
|  | PHASE | AMPS |  | Generator | NO OF UNITS & WHICH UNITS | UNIT BTU | GAS | [6 empty] | Structure | Finish
Shop No | Tenant Name | 1 - Single Ph 3 - Three Ph | Actual In Store Amperage | Lease Specification Amperage | Connection to Building Generator Available Y/N | MWS - Mid Wall Split CU - Cassette Unit DP - Ducted Plant | (Number of units with BTU of each unit.) | R22 R410A | F - Fluorescent D - Down Lights S - Spot Lights A - Accent Lights L - LED Lighting | SD - Single Door DD - Double Door S - Sliding Door SFS - Sliding Folding Stacking SS - Sliding Stacking | G - Galvanized P - Perforated D - Decorative T - Trellidoor | S - Suspended FP - Flush Plastered OV - Open Void | Height | T - Tiled CON - Concrete S - Screeded G - Granolithic C - Carpet L - Laminate W - Wood | B - Brick M - Meta Walls D - Dry Walls | T - Tiled P - Painted E - Exposed Brick W - Wallpaper | No of Toilets | S - Sink WHB - Wash hand basin
BUS TICKET OFFICE 01 | EMONDLO BUS SERVICE | 1 - Single Phase | 60A | 60A | Yes | DP- Ducted Plant | 1x 4800btuDP- Ducted Plant |  | L- LED 29 | SD- Single door | N/a | S - Suspended | 2.3 | T - Tiled | Dry Wall | Painted | 0 | S - Sink 1
BUS TICKET OFFICE 02 | NONDWENI BUS SERVICE | 1 - Single Phase | 60A | 60A | Yes | DP- Ducted Plant | 1x 4800btuDP- Ducted Plant |  | L- LED 29 | DD- Single door | N/a | S - Suspended | 2.3 | T - Tiled | Dry Wall | Painted | 0 | S - Sink 0
BUS TICKET OFFICE 03 | THANDUYISE BUS SERVICE | 1 - Single Phase | 60A | 60A | Yes | DP- Ducted Plant | 1x 4800btuDP- Ducted Plant |  | L- LED 29 | DD- Single door | N/a | S - Suspended | 2.3 | T - Tiled | Dry Wall | Painted | 0 | S - Sink 0
F/STANDING | CASHBUILD | 3 - Three phase | 160A | 160A | Yes | DP- Ducted Plant | 4x 7500 BtuDP- Ducted Plant | 4x 7500 BtuDP- Ducted Plant | L-LED 150; Downlights 6 | DD- Double door | Galvanized | S - Suspended | 3m | T - Tiled | Dry Wall | Painted | 1 | S - Sink 5
GARAGE | ASTRON | 3 - Three phase | 160A | 160A | Yes | DP- Ducted Plant | 4x 7500 BtuDP- Ducted Plant | 4x 7500 BtuDP- Ducted Plant | L-LED 150; Downlights 6 | DD- Double door | Galvanized | S - Suspended | 3m | T - Tiled | Dry Wall | Painted | 1 | S - Sink 3
KIOSK 01 | NR CELL CLINIX | 1 - Single Phase | 60A | 60A | Yes | N/A | N/A | N/A | N/A | N/A | N/a | N/A | 2.3 | T - Tiled | Dry Wall | Painted | 0 | S - Sink 0
KIOSK 02 | PROFUMO | 1 - Single Phase | 60A | 60A | Yes | N/A | N/A | N/A | N/A | N/A | N/a | N/A | 2.3 | T - Tiled | N/A | N/A | 0 | S - Sink 0
OFFICE 01 | VRYHEID TAXI ASSOCIATION | 3 - Three phase | 160A | 160A | Yes | DP- Ducted Plant | 3x 7500 BtuDP- Ducted Plant | 4x 7500 BtuDP- Ducted Plant | L-LED 150; Downlights 6 | DD- Double door | Galvanized | S - FLUSH PLASTERED | 3m | T - Tiled | Dry Wall | Painted | 1 | S - Sink 9
SIGNAGE PRIMEDIA | PRIMEDIA OUTDOOR | 1 - Single Phase | 60A | 60A | Yes | N/A | N/A | N/A | N/A | N/A | N/a | N/A | N/A | N/A | N/A | N/A | 0 | S - Sink 0
1 | BOXER | 3-Three phase | Multi- 200A Backery - 150A Bucthery 100A | Multi- 200A Backery - 150A Bucthery 100A | No | DP- Ducted Plant | DP- Ducted Plant |  | LED | n/a | Galvanized | S - Suspended | 3m | Tiled | Brick | T - Tiled P - painted | 6 | S - Sink 6
2 | ACKERMANS | 3 - Three phase | 160A | 160A | Yes | DP- Ducted Plant | 4x 7500 BtuDP- Ducted Plant | 4x 7500 BtuDP- Ducted Plant | L-LED 150; Downlights 6 | DD- Double door | Galvanized | S - Suspended | 3m | T - Tiled | Dry Wall | Painted | 1 | S - Sink 1
3 | RAGE | 1 - Single Phase | 60A | 60A | Yes | DP- Ducted Plant | 1x 4800btuDP- Ducted Plant |  | L- LED 29 | DD- Double door | N/a | S - Suspended | 2.3 | T - Tiled | Dry Wall | Painted | 0 | S - Sink 0
4 | POWER | 3 - Three phase | 160A | 160A | Yes | DP-Ducted Plant | 4x 6000btu 2x 4800BtuDP-Ducted Plant | 4x 6000btu 2x 4800BtuDP-Ducted Plant | L- LED 68 | DD- Double door | G - galvanized | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S - Sink 1
5 | RFO | Single | 100A | 100A | Yes | DP-Ducted Plant | 4x 4800BtuDP-Ducted Plant | 4x 4800BtuDP-Ducted Plant | L - LED 38 | DD- Double door | G Galvanized D-Decorative | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S - Sink 1
6 | PECARDI REBEL | PECARDI REBEL | 160A | 160A | Yes | CU Casset unit | CU Casset unit | CU Casset unit | L - LED D - Down Lights | DD- Double door | Galvanized | OV - Open Void | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted
7 | CLICKS | 3 - Three phase | 160A | 160A | Yes | DP-Ducted Plant ; CU Casset unit (ac07e) | 4x 7500Btu 2x 4800Btu bush cassetDP-Ducted Plant ; CU Casset unit (ac07e) | AC07A = 60KBTU AC07B = 60KBTU AC07C = 90KBTU AC07D = 60KBTU AC07E48KBTU | L - LED | DD- Double door | G - Galvanized | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 2 | S - Sink WHB Wash Hand Basin
8 | REFINERY | 3 - Three phase | 100A | 100A | Yes | DP-Ducted Plant | 2x 4800 BtuDP-Ducted Plant | AC08A = 36KBTU AC08B = 36KBTU | L - LED | DD- Double door | N/a | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S - Sink 1
9 | FASTRAK | 3 - Three phase | 100A | 100A | Yes | DP-Ducted Plant | 2x 4800Btu DP-Ducted Plant | AC09A = 36KBTU | L - LED | DD- Double door | N/a | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S - Sink 1
10 | FASTRAK | 3 - Three phase | 100A | 100A | Yes | DP-Ducted Plant | 2x 4800Btu DP-Ducted Plant | AC09B = 36KBTU | L - LED | DD- Double door | N/a | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S - Sink 1
11 | DEBONAIRS | 3 - Three phase | 100A | 100A | Yes | CU Casset unit | 2X 4800BtuCU Casset unit | AC11 = 24KBTU | L - LED | SFS- Sliding Folding Stacking | N/A | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S - Sink WHB Wash Hand Basin
12 | HUNGRY LION | 3 - Three phase | 100aA | 100aA | Yes | DP-Ducted Plant | 2X 4800BtuCU Casset unit | 2X 4800BtuCU Casset unit | L - LED | DD- Double door | N/a | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S - Sink WHB - Wash hand Basin
13 | RUSSEL | 3 - Three phase | 125A | 125A | Yes | DP-Ducted Plant | 5X DUNHAM BUSHDP-Ducted Plant | 6000 Btu | L - LED | DD- Double door | N/A | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S - Sink 1
14 | KFC UNDER CONSTRUCTION | SPEC UPDATE STILL IN PROGRESS
15 | CHICKEN LICKEN | 3 - Three phase | 80A | 80A | Yes | DP-Ducted Plant | 2x dunham Bush cassett |  | L - LED | SFS- Sliding Folding Stacking | G - Galvanized | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
16 | SHWARMA TAKEAWAY | 3 - Three phase | 80A | 80A | Yes | DP-Ducted Plant | 0 | n/a | L - LED | DD- Double door | G- Galvanized | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
17 | MK FOODS | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | 0 | n/a | L - LED | DD- Double door | G- Galvanized | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
18 | BEAUTY ZONE | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | 5x Dunham bushDP-Ducted Plant | 6000BTU | L - LED | N/A | G- Galvanized | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1
19 | SKIPPER BAR | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | 2x DP-Ducted Plant | AC 19A =48K BTU ; AC19B= 36K BTU | L - LED | DD- Double door | N/a | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
20 | Sanlam | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | 2x DP-Ducted Plant | AC 20A = 48KBTU ; AC20B = 36K BTU | L - LED | DD- Double door | N/a | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
21 | CAPITEC | 3 - Three phase | 100A | 100A | Yes | DP-Ducted Plant | DP-Ducted Plant | AC 21A = 60KBTU ; AC21B = 60K BTU | L - LED | N/a | D- Decorative | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
22 | WEDIT | 3 - Three phase | 125A | 125A | Yes | DP-Ducted Plant | DP-Ducted Plant |  | L - LED | N/a | D- Decorative | OV - Open Void | 3m | CON - Q | B -Brick D - Dry wall | P - Painted | 2 | S-SINK WHB
23 | JET | 3 - Three phase | 160A | 160A | Yes | CU Casset unit | 3x DP-Ducted Plant | 60000Btu | L - LED | SFS- Sliding Folding Stacking | D- Decorative | OV - Open Void | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 2 | S-SINK WHB
24 | SHOPRITE LIQUE | 3 - Three phase | 100A | 100A | No | MWS - Mid Wall Split | MWS - Mid Wall Split | 4800 Btu | L - LED | DD- Double door (2) | D- Decorative | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
25 | SHOPRITE | 3 - Three phase | 800A | 800A | No | MWS - Mid Wall Split | MWS - Mid Wall Split | 48000Btu | L - LED + D - Downlights | DD- Double door | D- Decorative | OV - Open Void | 3m |  | B -Brick D - Dry wall | P - Painted |  | S-SINK WHB
26 | MAKHAM | 3 - Three phase | 125A | 125A | Yes | DP-Ducted Plant | 2x DP-Ducted Plant | 48000Btu | L - LED (24) + D -downlights (10) LED | N/a | D- Decorative | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
27 | SPORTSCENE | 3 - Three phase | 125A | 125A | Yes | DP-Ducted Plant | 3 x DP-Ducted Plant | 4800 Btu | L - LED (44) + S - Sport lights (41) | N/a | D- Decorative | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
28 | PEPCELL | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | DP-Ducted Plant |  | L- LED | DD- Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
29 /30 | COSMIX | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | Duram Bush DP-Ducted Plant | 48000Btu | L - LED | DD- Double door | G- Galvanized | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
31 A | ATMS | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | duram bush DP-Ducted Plant | 48000Btu | L - LED |  |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
31 B | ABSA ATMS | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | duram bush DP-Ducted Plant | 48000Btu | L - LED |  |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
31C | STANDARD BANK ATM | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | duram bush DP-Ducted Plant | 48000Btu | L - LED |  |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
31 D | CAPITEC BANK ATMS | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | duram bush DP-Ducted Plant | 48000Btu | L - LED |  |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
31 E | FNB ATM | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | duram bush DP-Ducted Plant | 48000Btu | L - LED |  |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
32 | OLD MUTUAL | 3 - Three phase | 80A | 60A | Yes | DP-Ducted Plant | 2 x DP-Ducted Plant |  | L - LED |  | Galvanized | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | ATMS | S-SINK WHB
33 | STANDARD BANK | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | 1x DP-Ducted Plant | 60000 Btu | L - LED | DD-Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
36 | HOME SYNCH | 3 - Three phase | 60a | 60a | Yes | DP-Ducted Plant | 1 x DP-Ducted Plant | 48000Btu | L - LED | DD -Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
37 | ULTIMATE HAIR | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | DP-Ducted Plant | 48000Btu | L - LED | DD_ Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
38 | SPEEDY LOAN | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | DP-Ducted Plant | 48000Btu | L - LED | DD_ Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
39 | FASHION WORLD | 3 - Three phase | 125A | 125A | Yes |  | 3 X CASSETE | 48000 btu | L - LED LIGHTING | DD -Double Door |  | S - Suspended | 3m | CONCRETE FLOORS | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
40 | EXACT | 3 - Three phase | 125A | 125A | Yes |  | 4 X CASSETE | 60000Btu | L - LED |  | D- Decorative | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
41 | THE HUB | 3 - Three phase | 125A | 125A | Yes | DP-Ducted Plant | 4x Dunham Bush -Ducted Plant | AC41A = 48KBTU ;AC41B = 48KBTU; AC41C = 60KBTU; AC41D = 60KBTU | L - LED | DD -Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
42 | RAGE EDDITION | 3 - Three phase | 80A | 80A | Yes | DP-Ducted Plant | 1X DP-Ducted Plant | AC42 = 48KBTU | L - LED | DD -Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
43 | TOTAL SPORT | 3 - Three phase | 100A | 100A | Yes | DP-Ducted Plant | 2x DP-Ducted Plant | 36000Btu | L - LED |  | D- Decorative | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1 | S-SINK WHB
44 | SHOE ZONE | 3 - Three phase | 60A | 60A | Yes | DP-Ducted Plant | 2x DP-Ducted Plant |  | L - LED | DD -Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
45 | CELLTECH |  |  |  | Yes | DP-Ducted Plant | 1x cassete | 36000Btu | L - LED |  |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted |  | S-SINK WHB
46 | THE FIX | 3 - Three phase | 100A | 100A | Yes | DP-Ducted Plant | 3x DP-Ducted Plant | 48000Btu | L - LED | DD -Double Door | D- Decorative | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
47 | WEBBERS | 3 - Three phase | 100A | 100A | Yes | DP-Ducted Plant | 4x DP-Ducted Plant | 48000Btu | L - LED | DD -Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 0 | S-SINK WHB
48 | STUDIO 88 | 3 - Three phase | 125A | 125A | Yes | DP-Ducted Plant | DP-Ducted Plant |  | L - LED | DD -Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Paadsinted | 0 | S-SINK WHB
49 | PEP | 3 - Three phase | 80A | 80A | Yes | DP-Ducted Plant | DP-Ducted Plant |  | L - LED | DD -Double Door |  | S - Suspended | 3m | T - Tiled | B -Brick D - Dry wall | P - Painted | 1
PEP GROUP
TFG
FOOD
ENCHOR STORES
LIQUE

## Centre Incidents
CENTRE SECURITY INCIDENTS - ABAQULUSI PLAZA | AbaQulusi Plaza
JULY 2025 - JUNE 2026
MONTHS | Arrests | Sexual Harresment | After hours break in | Attempted theft of Motor Vehicle | Theft of Motor Vehicle | Break in and Theft | Snatch and Grab | Discharging of Weapon | Motor Vehicle Accidents | Armed Robbery | Robbery | Unsecure Premises | Shoplifting | Assault /Fight | Lost Property | Damage to Property | Medical Incidents | Fraud | Refuse to Pay | Theft | Jamming of Vehicle | Drinking in Public | Public Indecency | ATM robbery | ATM Bombing | Copper Piping / Cable theft | Malicious Damage to property | AMOUNT OF INCIDENTS PER A MONTH | COMMENTS: ACCURATE BREAKDOWN OF MONTHLY INCIDENT
JULY | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 3 | 0 | 13 | 14 | 0 | 0 | 0 | 0 | 33 | 1. Junkies fought at Bus Rank 2. Handrail balluster damaged by brick 3. Drinking in public 4. 3 Theft cases at Bus Rank
AUGUST | 3 | [7 empty] | 1 |  |  |  | 1 |  |  | 2 | [5 empty] | 11 | 13 |  |  |  |  | 31 | 1. Shoplifting arrest at Sportscene 2. Security car mirror got bumped by bus 3. Drinking in public 4. Urinating along fence/building 5. Truck ran over bollard
SEPTEMBER | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 8 | 0 | 0 | 0 | 0 | 13 | 1. Drinking in public 2. Urinating along fence/building
OCTOBER | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 4 | 16 | 0 | 0 | 0 | 0 | 23 | 1. Arrest of scammers 2. Drinking in public 3. Urinating along fence/building 4. Damage to parking cone
NOVEMBER | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 12 | 0 | 0 | 0 | 0 | 19 | 1. Arrests for theft and public indecency 2. Drinking in public 3. Urinating along fence/building
DECEMBER | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 10 | 12 | 0 | 0 | 0 | 0 | 26 | 1. Arrests for theft 2. Drinking in public 3. Urinating along fence/building
JANUARY
FEBRUARY
MARCH
APRIL
MAY
JUNE
FY OVERALL INCIDENTS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 0 | 0 | 0 | 8 | 0 | 45 | 75 | 0 | 0 | 0 | 0