## Operational Overview
OPERATIONAL OVERVIEW
AbaQulusi Plaza
1 | MONTHLY SITE VISIT DATES | 03/10/2025
2 | STRUCTURAL REPAIRS: | Plaster band at Shoprite is now complete. Urgent Structural repairs need to be completed behind Clicks and Pircard Rebel needs to take place as the wall shifts leading to internal partitions falling off.
3 | COSMETIC REPAIRS: | Tiles need to be installed at the wall against Standard Bank. Quotes received form D en G.
4 | ROOFING AND WATERPROOFING: | Water proof coating needs to be done at shoprite liquor roof slab. ( to be done by projects)
l
5 | GUTTERS & DOWNPIPES: | Downpipes around rank and Mason st needs attention to be done by handyman
6 | ELECTRICAL, GENERATORS AND TRANSFORMERS: | Infrared scanning done in February 2025, no other issues to report. Installation of drip treys project and oil sample testing done,next test to be done September 2026.
7 | PLUMBING, BOREHOLES AND JOJO TANKS: | Borehole is now working properly. Last service was in October. More meters to be installed. We are waiting for a quotation and parts. Water sampling took place in October 2025
8 | SOLAR MAINTENANCE: | One broken solar panel, call has been logged, awaiting contractor to replace.
9 | FIRE PROTECTION: | Some fire equipment has leaks after the KFC sprinkler installation this has been escallated to Secure fire to be sorted before 20/11/25
10 | TENANT MOVEMENTS: | New Tenants KFC & Sanlam are now operational. All signage installation have been approved by the landlord.
11 | HVAC: | All units are in good working condition. Monthly maintenance services are being carried out by Total comfort.
13 | SIGNAGE: | All signage are in good working condition .
GENERAL
1 | DATE OF LAST NIGHT INSPECTION:03/10/2025 | YES | NO | COMMENT
|  | X |  | 14/10/2025, Night visit by onsite ops
2 | DATE OF LAST ROOF INSPECTION: 13/10/2025
|  | X |  | 13/10/2025
3 | ASSET REGISTER IN PLACE & UPDATED?
|  | X |  | On File - Busy getting the asset register updated
4 | ALL SLA'S SIGNED AND IN PLACE?
|  | X |  | All SLA’s have been signed
5 | ANNUAL SERVICES DONE AS PER BUDGET?
|  | X |  | Services completed when due
6 | INCIDENTS REPORTED FOR THE MONTH
none

## OHS Act Report
OHS ACT REPORT
OCCUPATIONAL HEALTH AND SAFETY ACT , ACT NO 85 OF 1993 AMENDED BY ACT NO 181 OF 1993 (OHS ACT)
Capital Propfund |  |  | BUILDING COMPLIANCE PERCENTAGE |  |  | 100%
Asset Manager: Donovan De Lange
Operations Manager: Wesley Sykes
1 | Building Compliance |  | YES | NO | COMMENT
[7 empty] | 85 | 10 | 5
1.1 | Certificate of Occupancy and Structure | [5 empty] | 32 | 7 | 2
4 | 1,1,1 | Does the building have an occupation certificate available in the Masterfile and BOL? | X |  | Part of the master file |  | 32 | 7 | 2 | 41
| 1,1,2 | If there is no copy, has the landlord been informed and what is the plan of action? | N/A |  |  |  | 100% | 100% | 100%
4 | 1,1,3 | Has the visual structural inspection performed by a qualified structural engineer? When? | X |  |  |  | 85% | 10% | 5%
| 1,1,4 | Has all the non-compliant items been addressed? | X |  | No issues to report
1.2 | Electrical installations
5 | 1,2,1 | Is an "Electrical Certificate of Compliance" available for the building in the Masterfile and BOL? When was it issued? | X |  | 2023-11-22
| 1,2,3 | Are certificates obtained for alterations? | X
| 1,2,4 | Have Infrared Scans been performed on the DB Boards? | X
5 | 1,2,5 | Is legend cards in place & updated? | X
| 1,2,6 | Has all the non-compliant items been addressed? | X
|  | Last scan date? | X |  | Scans done in March 2025
1.3 | Fire compliance
4 | 1,3,1 | Does the building have a fire clearance certificate available in the Masterfile and BOL? | X |  | In the master file
| 1,3,2 | Does the building have a rational fire design available in the Masterfile and BOL? | X |  | In the master file
4 | 1,3,3 | Are all stores in compliance with the rational fire design? | X |  | In the master file
| 1,3,4 | Are national tenants compliant with all fire and evacuation regulations? | X
1.4 | Emergency Plans
5 | 1,4,1 | Are the evacuation plans up to date? | X
| 1,4,2 | Are the evacuation plans displayed at CM office and tenant shops? | X |  | Installed around the mall
| 1,4,3 | Are fire escape doors fitted with the proper opening devices, and are the opening devices in good working condition? | X
5 | 1,4,4 | Are escape and fire signage correct & in place? | X |  | Checked Weekly
| 1,4,5 | Are fire escape routes clean and clear? | X |  | Checked daily
|  | Date of last evacuation exercise or simulated exercise? | X |  | Was done in Nov 2024
1.5 | Transformer Info
1 | 1,5,1 | How many transformers feeds the site? | X |  | Three Transformers
| 1,5,2 | Is the transformers owned by the Council or landlord? | X |  | Landlord
1 |  | Has annual service been done and service date? | X |  | Next Service September 2025
2 | Critical Equipment |  | YES | NO
2.1 | Fire hose reels, handheld equipment, hydrants
1 | 2,1,1 | How many extinguishers are installed at the building? | X |  | 144
| 2,1,2 | How many fire hose reels are installed at the building? | X |  | 49
| 2,1,3 | How many Fire hydrants are installed at the building? | X |  | 14
1 | 2,1,4 | Are all equipment compliant since last service? | X
|  | Date of last service? | X |  | 12/2024
2.2 | Sprinklers
4 | 2,2,1 | Has the 3 yearly valve overhaul been done? When? | X |  | TO BE CHECKED /2026
| 2,2,2 | Is weekly pressure test being done? | X
4 | 2,2,3 | Is the standing pressure OHS compliant? | X
|  | Has the Sprinkler pump been serviced? When? | X |  | Serviced in Jan 2025
2.3 | Jockey Pumps
1 | 2,3,1 | Are all equipment compliant since last service? | X
1 | 2,3,2 | Date of last service? | X |  | Serviced in Jan 2025
2.4 | Smoke detection system
1 | 2,4,1 | Are all equipment compliant since last service? | X
1 | 2,4,2 | Date of last service? | X |  | Serviced in Jan 2025
2.7 | Smoke extraction system
1 | 2,7,1 | Are all equipment compliant since last service? | X
1 | 2,7,2 | Date of last service? | X |  | Serviced in may 2025. scheduled for service on 05/09/2025
2.5 | Booster Pumps
1 | 2,5,1 | Are all equipment compliant since last service? | X
1 | 2,5,2 | Date of last service? | X |  | Serviced in April 2025
2.6 | Evacuation systems
1 | 2,6,1 | Are all equipment compliant since last service? | X
1 | 2,6,2 | Date of last service? | X |  | 03/09/2025
2.8 | Pressure vessels
1 | 2,8,1 | Are all equipment compliant since last service? | N/A
1 | 2,8,2 | Date of last service? | N/A
2.9 | Electric fences
1 | 2,9,1 | Is an "Electrical Certificate of Compliance" available for the electric fence in the Masterfile and BOL? | N/A
1 | 2,9,2 | Date issued? | N/A
2.1 | Asbestos
1 | 2,10,1 | Are the necessary precautions taken where asbestos materials are affected? | X
1 | 2,10,2 | Date of last inspection? | X |  | 2023-03-01
2.11 | Lifts and escalators
1 | 2,11,1 | Is "B-certificate" available and valid? (2 yearly) | N/A
1 | 2,11,2 | Date of last annex B & K inspection? | N/A
2.12 | Generators
1 | 2,12,1 | How many generators are installed on site? | X |  | 6 Generators on site 2x Centre Generators 1x ShopRite 1x Boxer 1x Caltex
| 2,12,2 | Is Diesel stored onsite? If so how much diesel is stored on site? | N/A |  | No additional fuel stored on site
1 | 2,12,3 | Where is the diesel stored? | N/A
2.13 | Agreements / assignments
3 | 2,13,1 | Are contractor mandatory agreements in place and available in the Masterfile and BOL? (37.2) | X
| 2,13,2 | Are OHS appointments in place and available in the Masterfile and BOL? (16.1 &16.2) | X
3 | 2,13,3 | Are specialized equipment training and certification up to date and available in the Masterfile and BOL? | X
2.14 | Risk assessments
2 | 2,14,1 | Has an annual risk assessment been done for on site employees and available in the Masterfile and BOL? | X
| 2,14,2 | Has annual medicals been done and available in the Masterfile and BOL? | X
2 | 2,14,3 | Date of last assessment? | X |  | 2024-11-01
| 2,14,4 | Date of last medical? | X |  | 2024-07-01
3 | COMMUNICATION FORUM
3.1 | Tenant forum (Health and safety in common areas) |  | YES | NO
2 | 3,1,1 | Are OHS matters discussed in the quarterly tenant meetings? | x |  | scheduled for 10/09/2025
2 | 3,1,2 | Are the minutes available in the Masterfile and BOL? | x
4 | HAZARD AND RISK INSPECTIONS
4.1 | RECORD OF POTENTIAL HAZARDS AT THE BUILDING |  |  |  | CORRECTIVE ACTION TAKEN
1
2
3
4
5
6

## Building Inspection Report
BUILDING INSPECTION REPORT
Inspected by: Wesley Sykes
Inspection Date: 12 August 2025
| Acceptable ? |  |  | Action Required
| YES | NO | N/A | No immediate action required | Action required within 3 months | Immediate action required | Comments
STRUCTURE
Basement |  |  | N/A
Foundations | Y
Ground floor construction | Y
Upper floor construction | Y |  | N/A
Structural frame | Y
EXTERNAL FAÇADE
General appearance | Y
Walls | Y | [5 empty] | Painting needed on outside walls at capitec exit,to shoprite wall on Mason & to Boxer wall at Mason
Finishes | Y
Cladding | Y | [5 empty] | Plaster bands repaired at Boxer and Shoprite - Projects
Windows | Y
Doors | Y
Roller shutter doors | Y
Shop fronts or similar entrance screens | Y
Balustrades | Y
Parking, driveways and bollards | Y
Back Yard | Y
Fencing / Boundary walls | Y
Refuse areas | Y
Outbuildings | Y
Access gate / control | Y
Road markings | Y
Carports | Y | [5 empty] | Taxi rank under roof, good condition with no leaks
Shade netting | Y | N
Paved / other walkways | Y | [5 empty] | about 300 sm of paving patches in bad shape and needs to be restored
ROOF
Covering |  | N |  |  |  |  | Ongoing roof leaks that is being attended to by Projects.
| y | N |  |  |  |  | Currently under construction
Insulation | Y
Construction | Y
Parapet walls | Y
| Y | N |  |  |  |  | Currently under construction
Gutters and down pipes | Y
Flashings & other waterproofing membranes | Y | [5 empty] | Roofs have been sealed, small areas that still need to be attended to
Roof ventilators | Y
Skylights | Y
Joints | Y
INTERIOR
Walls | Y
Wall finishes | Y
Partitions | Y
Doors & door sundries | Y
Floor tiles | Y
Carpets & walk off mats | Y
Ceiling |  | N |  |  |  |  | Ceiling by Code walkway needs to be painted.
Stairs | Y
Is lighting level adequate | Y
Is ventilation adequate | Y
Is the building wheelchair friendly | Y
FIRE PROTECTION
Are passages, fire escape routes & stairs clear of obstructions - also check handrails, landings and floor finishes | Y
Are fire extinguishers in place | Y | [5 empty] | Next service Feb 2026
Are fire hose reels in place | Y
Are fire hydrants in place | Y | [5 empty] | Flow test was completed by Securefire
Is sprinkler installation in place | Y
Is all fire equipment easily accessible | Y
Has fire equipment been serviced within last 12 months | Y
Are fire equipment seals in place | Y
Are fire escape doors un-obstructed | Y
Are fire escape doors fitted with acceptable opening devices | Y
Are flammable liquids stored correctly with acceptable signage | Y
Evacuation plan provided & displayed | Y | [5 empty] | Each store has been given the evacuation plan.
Fire Alarm | Y
PA System | Y | [5 empty] | At the food court
Smoke detection | Y | [5 empty] | Boxer has 1 damaged smoke detector
Sprinkler system engine | Y | [5 empty] | Serviced Jan 2025
Smoke vents | Y | [5 empty] | Next service May 2026
Booster pumps | Y
ELECTRICAL
Do we have Compliance Certificate | Y
Are plugs fittings secure & undamaged | Y
Are light fittings secure & undamaged | Y
Are power cables neat & undamaged | Y
Distribution boards neat, covers in place & labelled | Y
Maximum 4 items per plug point | Y
Is tenant's cabling neat & undamaged | Y
Transformer & other plant neat, serviced & undamaged | Y
HT / LT Switchgear | Y
Is infrared inspections in place | Y | [5 empty] | Next infrared inspection March 2026.
External distribution boards | Y | [5 empty] | Three External DB and clean and tidy.
Lightning protection | Y | [5 empty] | Next to the taxi rank and Boxer.
Emergency power and UPS | Y
Extraction system | Y
Electric fencing |  |  | N/A
Emergency lighting | Y | [5 empty] | All around the building
Exterior lighting | Y
Power factor correction equipment | Y
Are there any illegal connections |  | N
Solar system operation | Y
GENERATORS
Are generators serviced annually or every 250hrs | Y
How many generators are installed and who do they feed | Y | [5 empty] | Four Generators are installed on-site, Boxer and ShopRite have their own generators.
Which tenants are connected to the mall generator | Y | [5 empty] | All shops are connected, Excluding Boxer and Shoprite.
common areas are fed from the mall generator | Y | [5 empty] | Yes and all in working Order.
MECHANICAL
Lifts, escalators & goods hoist - general appearance |  | N |  |  |  |  | Currently under construction
Lifts, escalators & goods hoist - operation |  | N |  |  |  |  | Currently under construction
Lifts, escalators & goods hoist - annexure B/K certificate |  | N |  |  |  |  | Currently under construction
Motor room appearance |  | N |  |  |  |  | Currently under construction
Cherry picker / scissors lift - general appearance | Y | [5 empty] | Cleaned and neat
Cherry picker / scissors lift - operation | Y | [5 empty] | Still new and in good condition.
Cherry picker / scissors lift - load test & training certificate | Y
Waste compactor |  | N |  |  |  |  | Currently under construction
AIR-CONDITIONING
How is the building air-conditioned - type of system? | Y | [5 empty] | There are multiple different A/C units on site from normal split to ducted units and package units
Split units | Y | N |  |  |  |  | Currently under construction
Cooling towers | Y | N
Cassette units | Y
Split units | Y
Air handling units | Y | N |  |  |  |  | Currently under construction
Chillers | Y | N |  |  |  |  | Currently under construction
Ica packs | Y | N |  |  |  |  | Currently under construction
Are plant rooms clean & neat | Y
Condition of units/plant | Y
Effectiveness of units/plant | Y
Maintenance contract in place & by whom (tenant/landlord) | Y
Air-conditioning owned by whom (tenant/landlord) | Y | [5 empty] | Landlord - Tenant responsibility
FITTINGS
Office furniture | Y | [5 empty] | In CM office
Kitchen fittings | Y | [5 empty] | In CM office
Reception counter |  | N
SIGNAGE
External building signage | Y
Internal building signage | Y | [5 empty] | Working order
External tenant signage | Y | [5 empty] | Yes
Internal tenant signage | Y | [5 empty] | Hungry Lion has a light out in their main sign
Statutory signage/ Disclaimers. | Y | [5 empty] | Disclaimers
Parking / traffic control signage | Y | [5 empty] | Still needs to be finished/ in Progress.
PLUMBING
Plumbing installation in general | Y | [5 empty] | Plumbing reticulation at the purification plant has been confirmed. 1 Meters to be installed to clear our un metered water - fire line.
Water reticulation (internal & external) | Y | [5 empty] | In good condition
Drainage | Y | [5 empty] | Yes
Sanitary fittings | Y
Grease Traps and Floor Drains | Y | [5 empty] | Serviced by Plumber Boys
JoJo tanks | Y | [5 empty] | 3 connected to the borehole.
Sewer plants | Y | N |  |  |  |  | Currently under construction
Are there any illegal connections | Y | N |  |  |  |  | Currently under construction
Water purification plants | Y | [5 empty] | Good condition
Domestic water pump sets | Y | [5 empty] | At borehole tank.
| Y | N |  |  |  |  | Currently under construction
Soil drainage | Y | N
Storm water drainage | Y | [5 empty] | Storm water Drains installed.
Irrigation |  |  | N/A
Bulk & check meters | Y | [5 empty] | Installed
Is there a borehole on site | Y | [5 empty] | Yes - Pump replaced by Clearwater and system serviced.
Is the borehole water metered | Y | [5 empty] | Yes
Which areas does the borehole feed | Y | [5 empty] | Feeds the hole Building
Has the borehole water been tested | Y | [5 empty] | Done in April 2025 and October 2025
Grey water systems | Y | N |  |  |  |  | Currently under construction
Rain harvesting systems | Y | N |  |  |  |  | Currently under construction
Are daily water readings being taken & interrogated | Y | [5 empty] | Daily water reading done buy security.
SOFT SERVICES
Security | Y | [5 empty] | Service supplied by Thompsons Security
Cleaning | Y | [5 empty] | Service supplied by Quatro
Landscaping | Y | [5 empty] | Broll appointed
Waste management | Y | [5 empty] | Service supplied by Don’t Waste
Hygiene | Y | [5 empty] | Service supplied by Bidvest Steiner
Pest control | Y | [5 empty] | Service supplied by Bidvest Steiner

## Contractural Expense Recoveries
CONTRACTURAL EXPENSES VERSUS RECOVERY
AbaQulusi Plaza
EXPENSES | YTD CONTRACT EXPENSE | YTD CONTRACT RECOVERY | % RECOVERY | BUDGET % RECOVERY | ALL TENANT SERVICE RECORDS RECEIVED & UPLOADED | FAULTS FOUND & REPORTED | DATE FAULT REPORTED | DATE FAULT WAS REPAIRED | COMMENT
AIRCON SERVICE | 6500 | 0 | 0% | 0% | Y |  |  |  | No Recovery in income.
GENERATOR SERVICES /REPAIRS + DIESEL | 30498 | 971 | 3.184% | 100% | Y
EMERGENCY BACK UP | 0 | 201905 | 0% | 0% | Y
SMOKE VENT SERVICE | 17600 | 0 | 0% | %
SMOKE DETECTION SERVICE | 23095 | 12230 | 0% | 0% | Y
GAS | 46835 | 70479 | 150.5% | 53.81% | Y

## Utilities
UTILITIES - OCTOBER 2025
ABAQULUSI PLAZA
Council bulk vs Bulk check (Water)
Meter | Reading (KL) | Difference | Comment
Council Bulk | 0 | -100% | Need to investigate if we have a bulk meter
Bulk Check | 302.76
Site Daily reading total | 1894.25 | 525.7%
Council bulk vs Bulk check (Electrical)
Meter | Reading (KWh) | Difference | Comment
Council Bulk | Not Online | #VALUE!
Bulk Check | 69725.93
Bulk vs Common Area Breakdown
Meter | Reading (KL) | Percentage Of Bulk | Comment
Bulk Check | 302
Borehole meter | 1812.88
Total | 2114.88
Tenant Meters | 944 | 44.64%
Common Area | 1172 | 55.42%
Unmetered Water | 205 | 17.49%
Ablutions | 677 | 57.76%
Other metered common area | 288 | 24.57% | Garden is being watered through the common area, Taxi consumption is recovered through common area
Night Usage
Meter | Consumption (KL) | Time | Comment
Bulk Check | 124.57 | 22:00 - 06:00 | As per Console
Borehole
Predicted Yield (KL) | Actual Yield (KL) | % of Predicted Yield Achieved | Comment
| 1812.88 |  | awaiting new Yeild test.
Solar
Predicted Yield (KWh) | Actual Yield (KWh) | % of Predicted Yield Achieved | Comment
128166 | 116212.08 | 90.67% | Need to check the predicted yield again

## PPM
PLANNED PREVENTATIVE MAINTENANCE SCHEDULE
SERVICE | MONTH
| 2025-07-21 | 2025-08-21 | 2025-09-21 | 2025-10-21 | 2025-11-21 | 2025-12-21 | 2026-01-21 | 2026-02-21 | 2026-03-21 | 2026-04-21 | 2026-05-21 | 2026-06-21 | COMMENT
Aircon audit
Aircon minor |  | order 1340595 released
Aircon major
Annexure B inspection
Booster pumps
Borehole pump |  | service done on 24/04/2025
Compactor minor
Compactor major
Cherry picker & scissors lift
Domestic pump set
Fire equipment
Generators |  | service was done in April | [10 empty] | As per the budget, 169 HRS running hrs to the next service
Infra red scanning | [12 empty] | Next Infra red Scan to be done in March 2026
Lifts
Smoke vents & extraction fans | [12 empty] | Requested service certificates from tenants. Serviced every 6 Months
Sprinkler engine
Sprinkler valve | [12 empty] | Only to be serviced in 2026
Structural inspection
Sewer line jetting
Smoke detection systems
Transformers | [12 empty] | This needs to be implemented yearly
Water treatment plant | [12 empty] | Clearwater pumps was appointed to do the testing, testing was done in April, awaiting results.
Waterproofing guarantee
Window cleaning and high level cleaning
Roller shutters
Indicators
Service due
Service done
Service missed
N/A

## Masterfile index
MASTERFILE INDEX
AbaQulusi Plaza
| ON FILE Y/N |  | COMMENT | RESPONSIBLE
| YES | NO
Conditions of establishment |  | X | Project team to supply | Project team to supply
Zoning certificate |  | X | Plans on file loaded(hard and soft copy) | Mina
Environmental impact study |  | X | Environmental affair to inspect | Deon
Service providers' contact details |  | X | Need to make sure that Quatro/Thompsons/gardening are added to the file in soft copy and hard copy on the shared drive. All the contractor numbers currently working on the building are added in files both soft and hard copy. | Sibu/Mina
Standard site plan | X |  | Plan on file loaded(hard and soft copy) | Deon/Mina
Basement plan |  | X | N/A | Deon/Mina
Ground floor plan | X |  | Plan on file loaded(hard and soft copy) | Deon/Mina
First floor plan |  | X | N/A | Deon/Mina
Second floor plan |  | X | N/A | Deon/Mina
Third floor plan |  | X | N/A | Deon/Mina
Parking plan | X |  | Plans on file loaded(hard and soft copy) | Deon/Mina
Elevations / specifications | X |  | Plan on file loaded(hard and soft copy) | Deon/Mina
Additional drawings | X |  | Plans on file loaded(hard and soft copy) | Deon/Mina
Occupation certificate for the building | X |  | Plans on file loaded(hard and soft copy) | Deon/Mina
Individual tenant occupation certificate | X |  | Plans on file loaded(hard and soft copy) | Deon/Mina
Extractor fan system (for each tenant - every 6 months) | X |  | Refer to total comfort file | Mina
Gas compliance file (site and tenant) | X |  | On File and in shops | Mina
Annual flammable liquid certificate |  | X | Boxer Will need one | Mina
Smoke detection system service certificate | X |  | On file | Mina
Smoke extraction system service certificate | X |  | On file | Mina
COC - electricity - building | X |  | On file | Mina
COC - individual tenant | X |  | On file | Mina/Tanya
Plumbing compliance certificate | X |  | On file | Mina
Site title deed |  | X | Ask the Landlord | Mina
Building guarantees & warrantees | X |  | On file | Mina
Site OHS act appointments | X |  | In file to ensure updated | Mina/Sibu
Contractors mandatory agreements | X |  | In CM office | Deon
Evacuation plan | X |  | Loaded on file(hard and soft copy) | Deon
OHS act policy | X |  | Loaded on file(only soft copy) to print on load hard copy | Mina/Sibu
Fire service certificate of compliance | X |  | On files | Mina
Rational fire design and details | X |  | On flies | Mina
Fire protection impairment procedures | X |  | Plan on file loaded(hard and soft copy) | Mina
Last annual building inspection report | X |  | Done April 2025 | Mina
Property insurance details | X |  |  | Mina
Sewer layouts | X |  | As per plans | Mina
Water layout | X |  | As per plans | Mina
Electricity layout | X |  | As per plans | Mina
Storm water layouts | X |  | As per plans | Mina
Building drawings | X |  | As per plans | Mina
Work permits for all contractors on site | X |  | In CM office On File | Mina/Neli
Hot works permits | X |  | On File | Mina/Neli
Roof access schedule | X |  | All loaded in file | Mina